REQUEST			Bill of quantities for

Plastifloor-sealing 522

for dry areas (coloured)

# Pos.	Quantity	Unit	Article/work			Unit price EUR	 	Total EUR

transfer:		_______,____

Plastifloor-sealing

2.01			m²	Prime prepared surface until all

pores are sealed.

Material:		Plastifloor 112

Material consump:	0.5 kg/m² per layer until

all pores are sealed

Broadcast with quartz sand 0.2-0.7 mm.

_______,____		_______,____

OPTION

2.02			kg/h	Leveling works

Deep or large holes and cavities,

eruptions or extreme flaws in the

substrate are eliminated in advance

on site or on customer’s directive

by our staff on direct labour, with

wage and material cost statement.

technician work hour:

resin-based mortar: Plastifloor® 510

An even floor coating, corresponding

to  DIN 18202, can only be achieved if

a correspondingly even substrate

exists or is established on customer’s

directive.			_______,____		_______,____

2.03			m	Force-fitly cast elaborated construction

joints and cracks.

Joint dimension:

Material: 	Plastifloor 510

Consumption:	   kg/m		_______,____		_______,____

2.03a			m	Form elaborated expansion joints

in the structure permanently elastic.

or install a suitable joint profile.

Joint dimension:					____________

Continued on page 3					transfer			_______,_____

Page 3

# Pos.	Quantity	Unit	Article/work			Unit price EUR	 	Total EUR

Übertrag:		_______,____

Material.	Plastifloor 430

Consumption:	   kg/m		________,____	________,___

2.04			m²	Seal the coated surface.

Sealing must be effected until all

pores are sealed.

____________

Material:		Plastifloor 522

Colour as per colour chart

Material consump:	0.5 – 0.7 kg /m²

Colour: acc RAL colour chart	_______,____		_______,____

Site equipment

3.01			all in	- Setting up the site, provide tools

Machines during the whole con-

struction period.

- Executing and recording CM-measuring

- Executing and recording 1 bond strength

measurement

- Dispose of empty bundles environmentally

friendly

- Approach and departure from site 1 x

- Expense allowance for our staff

_______,____		_______,____

TITLE SUMMARY

Floor preparation

Plastifloor-sealing

Site equipment

____________

Net amount						_______,_____

VAT				____ %		_______,_____

---------------------

Total amount						_______,_____